HANOVER VILLAGE BOARD OF PUBLIC AFFAIRS

DATE: 6/11/2025

Meeting Place: Hanover Village Hall

Attendees: Mike Spaulding, Bill Fry

Guests:

Topic: Regular Monthly Meeting

There were 53 customers in arrears for a total of $7329.84.

The plant was out of permit on Ammonia this month.

The diverter actuator at the sewer plant has gone bad and we are having to manually switch it and this is causing some overtime pay. A new diverter gearbox has been ordered.

Two people from Kruger Corp. in North Carolina were here to evaluate the plant as far as maintenance goes. We are awaiting their recommendations at this time.

With no further business, the meeting was adjourned at 6:30 PM