HANOVER VILLAGE BOARD OF PUBLIC AFFAIRS

DATE:  9/10/25

Meeting Place: Hanover Village Hall

Attendees: Mike Spaulding, Bill Fry

Guests:

Topic: Regular Monthly Meeting

There were 56 customers in arrears for a total of $ 12,447.14.

The plant is running well considering all the ailments.

We have had to pull the #1 pump from the S Main St lift station two different days due to having a mop head in the pump causing it to lock up.

The diverter gate that we have been waiting on for months is to be here this Friday, 9-11. Hopes are to get it installed and running early next week.

With no further business, the meeting was adjourned at 6:30 PM